Backbone Estimation for Shape-Identifiable Candidate Flexibility from Aggregate Load Profiles

| M. Syahman Samhan School of Photovoltaic and Renewable Energy Engineering University of New South Wales Sydney, Australia m.samhan@unsw.edu.au | Navid Haghdadi Demand Forecasting, Network Strategy and Future Grid Ausgrid Sydney, Australia | Daniel Sim Demand Forecasting, Network Strategy and Future Grid Ausgrid Sydney, Australia |
| --- | --- | --- |

| Anna Bruce School of Photovoltaic and Renewable Energy Engineering University of New South Wales Sydney, Australia | Baran Yildiz School of Photovoltaic and Renewable Energy Engineering University of New South Wales Sydney, Australia baran.yildiz@unsw.edu.au |
| --- | --- |

# Introduction

Residential demand flexibility can support power-system balancing, but its operating constraints and quantification remain heterogeneous. (Luo et al., 2022)

Aggregate smart-meter data are scalable but hide end-use composition; appliance-agnostic decomposition is useful only with a conservative claim. (El Makroum et al., 2026) (Kelly and Knottenbelt, 2015)

Alternatives considered: bottom-up appliance models require unavailable detail; independent timestamp scaling ignores event continuity; whole-window scaling can confuse load exposure with shiftability.

The selected rolling backbone balances low data burden with temporal structure. It is distinct from a demand-response counterfactual baseline. (Valentini et al., 2022)

UK-DALE, REFIT, and NREL end-use profiles will justify plausible synthetic parameter ranges only. (Kelly and Knottenbelt, 2015) (Murray et al., 2017) (NREL et al., 2022)

Question and boundary: when can the method recover known shape-identifiable candidate flexibility? The residual is not verified physically flexible appliance demand; real-data, tariff-response, archetype, and SSO modelling are excluded.

## Proposed visuals

Figure 1. Conceptual L = B + F + noise decomposition with the claim boundary.

Figure 2. 2x2 comparison of data burden versus temporal-structure fidelity for bottom-up, timestamp scaling, window scaling, and the proposed method.

Table I. Alternatives matrix: information required, strength, limitation, and decision.

# Method

Generate 365 days at 30-minute resolution, with known backbone, candidate-flexibility events, and noise.

Ld,t=Bd,t+Fd,t+εd,t

Vary backbone shape, event magnitude, duration, start-time variability, and noise using a small transparent experiment grid.

Estimate the backbone at each time of day from a W-day rolling neighbourhood using lower quantile q.

Bd,t=QqLd',t:d'∈NWd

Define candidate flexibility as the non-negative excursion above the estimated backbone.

Fd,t=maxLd,t-Bd,t,0

Compare with two benchmarks: a whole-history time-of-day low quantile and a rolling minimum or lower envelope.

Use repeated random seeds and a prespecified q-W sensitivity grid.

Evaluate backbone RMSE, flexibility RMSE, and relative flexible-energy error against known ground truth.

RMSEB=1Nd,tBd,t-Bd,ttrue2

RMSEF=1Nd,tFd,t-Fd,ttrue2

EFtrue=d,tFd,ttrueΔt,   EF=d,tFd,tΔt

ErrorE=EF-EFtrueEFtrue

## Proposed visuals

Figure 3. End-to-end synthetic generation, estimation, and scoring workflow.

Table II. Experiment factors, levels, repetitions, q-W grid, and benchmarks.

Figure 4. Representative synthetic backbone and event families.

# Results and Discussion

Compare all three estimators using RMSE_B, RMSE_F, and Error_E with uncertainty across repetitions.

Test sensitivity to backbone shape and seasonal drift.

Quantify effects of event magnitude, duration, and noise.

Treat timing regularity as the key identifiability boundary: persistent events may be absorbed into the backbone.

Report q-W sensitivity and show one success case and one failure case.

Interpret good synthetic recovery as methodological evidence only, not proof of appliance identity, technical shiftability, willingness, or dispatchability.

## Proposed visuals

Table III. Main metrics by estimator and condition.

Figure 5. Error heat maps across timing variability and noise.

Figure 6. Success/failure overlays with q-W sensitivity.

# Conclusion

State whether the proposed method outperforms the two benchmarks.

Summarise the conditions supporting accurate recovery.

Emphasise the failure boundary for temporally persistent flexible loads.

Future work: validate against paired aggregate and appliance-level ground truth before adding tariff-response modelling.